# Utilities and engineering Board

# Meeting Minutes

Meeting Date: June 14, 2011

Approval: July 12, 2011

Recorded By: Brian Donnell

# Attendance

Sandy Banta

Jim Blankenship

Brian Donnell

Rick England

Marty Hine

Chuck Keim

Jody McClerken

Kyle Miller

Victoria Simonsen

# Meeting Location

Building: Lyons Town Hall

# Meeting Start

Meeting Schedule Start: 8:30am

# Agenda

I. 	Roll Call

II.  General / Ongoing Business

- Approval of 10-May-2011 Minutes

- Membership Update

- Continuing items from 10-May

    - Honeywell Report - Update

    - Street Inventory – Continued to July

    - Pressure Reducing Valves  - Brief Status report

    - Grease trap inspection – Brief Status report

- New Business

  - Town of Lyons Design Guidelines – Introduction

  - Sustainable Futures Commission (SFC) Green Building Codes - CRK

  - GIS advisement - Brian Donnell and Rick England

  - Consultant report on Wastewater Plant – Victoria

IV. Adjournment

# Discussion/Action Taken

General Business

  - We were unable to approve the May 10, 2011 meeting minutes for lack of a quorum.

  - Items to be postponed until the July meeting:

  - Honeywell Report

  - Street Inventory

  - Pressure Reducing Valves

  - Membership drive:

          - Victoria Simonsen has been unable to reach Gary Cinnamon.

          - Marty Hine has expressed an interest in joining the Utilities & Engineering Board and is attending this meeting as a guest.

  - Sewer plant tour / grease trap follow up: Sandy Banta will be attempting to schedule a grease trap inspection with Roger Wade to include Brian Donnell for sometime in the next few weeks. Victoria Simonsen has suggested we might want to attend two separate inspections of customers with large grease traps as well as smaller grease traps.

  - Contact list: Chuck Keim has compiled a UEB contact list. Please review this list and update or add your contact information so that the UEB will have a current list of contact information for the group.

New Business

  - Town of Lyons Design Guidelines—Introduction: Per Chuck Keim, the UEB will need to review these codes as they will affect us.

  - Sustainable Futures Commission (SFC) Green Building Codes: Per Chuck Keim, the UEB will need to review these codes as they will also affect us. The “en masse” adoption of this collection of codes is a fairly non-standard approach to code passage. This new collection of codes sets a new policy for how building will need to be done in Lyons and will require a recommendation from this group.

  - GIS advisement – Brian Donnell and Rick England:

  - Brian presented a summarization of the information in the “20110614 GIS recommendation.pdf” document. The final recommendations were to proceed using a “task team” approach in the interest of efficiency in working with Staff to define requirements and determine DRCOG (and other) assistance opportunities in this fashion:

- In the interest of efficiency, the UEB should define a (smaller) “UEB GIS task team”.

- The UEB GIS task team will work with Staff to determine DRCOG assistance expectations and possibly other financial assistance opportunities related to our GIS technology and systems interest.

- The UEB GIS task team will work with Staff to define immediate needs and justifications.

- The UEB GIS task team will work with Staff to refine and expand as appropriate the list of requirements.

- The UEB GIS task team will work with Staff to determine feasibility, financing options, and action plan.

- The UEB (and the UEB GIS task team) has a consulting role in any GIS requirements definition and recommendations activities. The UEB will put its final approval on the UEB GIS task team recommendations but the ToL Staff has primary and final say in any requirements and recommendations that are adopted and acted upon.

  - It was pointed out in discussion that the Lyons Fire Department is currently working on their own GIS system implementation and that we should contact them regarding possible collaborative efforts.

  - Brian Donnell and Rick England were identified as task team members based on the previous meetings' discussion and understanding.

  - Staff members to be involved as the task team points of contact include Jim Blankenship, Kyle Miller, and Victoria Simonsen. Victoria might want to roll Danna Ortiz in if appropriate. Actual Staff involvement may be more role or “subject matter” based so we'll proceed into this effort with the understanding that we'll need to figure out the most sensible—and considerate—use of all of our time.

  - Consultant report on Wastewater Plant – Victoria:

  - Per Chuck Keim, the key objective today is to listen to the presentation and come up with questions for Staff that may very well be submitted to JVA.

  - The ToL's wastewater treatment facility is nearing the end of life and alternatives are being considered. The ToL has received a “rough rough” draft from JVA of a feasibility study for the three options in the report. The main focus of today's discussion has been the first 22 pages of the document. Victoria Simonsen would like to see questions from us within two weeks (by June 28).

  - 2,500 population is conservative but it's also possible that 3,500 might be a better wastewater population planning figure from a “tipping point” standpoint. This “tipping point” is believed to have significance in understanding where the current JVA model may break down. Understanding the “tipping point” boundaries will help give us confidence in terms of how well the JVA model will scale upwards if/when our growth is greater than previously anticipated—and there are a few credible scenarios where greater growth might occur.

  - Per Chuck, water infiltration in the winter is something we should try to quantify as it may be important information to have. (Although it must be averaged over some period of time to factor out anomalies, infiltration is essentially defined as: “water infiltration” = “Longmont water delivered” - “WWTF input”.)

  - Currently, there are a number of components in the current wastewater treatment facility that will imminently fail as they are old and overdue for replacement. Several of these components will cost over $100k to replace. In this context, the ToL is considering replacement of the existing WWTF as a valid “end of life” scenario consideration.

  - The UEB will ultimately have to weigh in with a recommendation on this issue.

  - The UEB is to compile a list of questions for Staff that will be forwarded to JVA. This “living document” list is being compiled by Sandy Banta and will certainly grow and change in the near future.

  - The BOT will see the JVA study in August.

# Post Meeting Action Items

| Action | Assigned To | Deadline |
| --- | --- | --- |
| GIS requirements gathering, assistance research, and other task team efforts to start. | Brian Donnell will work with Rick England, Jim Blankenship, Kyle Miller, and Victoria Simonsen. | Deadlines and milestones are TBD (“to be determined”). Work is to start as soon as possible. |
| Agenda preparation and meeting chair, July meeting. | Steve Wratten | At least one week before July UEB meeting. |
| UEB members are to review and provide all comments on the JVA WWTF consultant report to Sandy Banta. | UEB members are responsible for review and communication (email) of comments to Sandy Banta. | “Within 2 weeks” is interpreted as a June 28 deadline. |
| Compilation of UEB's WWTF comments. | Sandy Banta will compile and share with Victoria Simonsen, UEB, and JVA as necessary. | (Assumed:) Prior to July UEB meeting. |

# Meeting Minute Attachments

- “Wastewater Feasibility Questions.doc” – compiled by Sandy Banta

- “20110614 GIS recommendation.pdf” – compiled by Brian Donnell & Rick England

# Next Meeting

Next Meeting: Tuesday, July 12, 8:30am - 10am, Lyons Town Hall

# Meeting End

# Meeting End: 11:15am